## Sheet1
Hazard Category | Positive Observation 1 | Positive Observation 2 | Positive Observation 3 | Positive Observation 4
Access and Egress | Access to the work areas were clear and unobstructed.
Aerial Work Platforms / Scissor Lifts | All employee observed utilizing scissor lifts were standing on the platform, gates closed with no climbing on the rails. | All employees observed using boomlifts were properly tied off, standing on the platforms with no climbing on rails.
Barricades | Good use of barricading and signage to restrict exposure.
Concrete & Masonry
Confined Space | Confined spaces observed had air monitoring in place and had been declassified to a non permit space.
Cranes / Rigging | Cranes in use on-site were properly set up on all outriggers with pad floats. | All rigging in use was inspected prior to use.
Danger Area / Unsafe Act / Horseplay | Danger areas with overhead hazards were adequately barricaded and signed.
Electrical | All temporary power boxes were equipped with operable GFCI that are inspected at least weekly.
Excavation - General Conditions | Excavation competent person was onsite and made daily inspection of excavations
Excavation - Protective Systems | Excavation protective systems were in place and adequate for excavations observed.
Extension Cords / GFCI | All temporary power boxes were equipped with operable GFCI that are inspected at least weekly.
Fall Protection - Dropped Object Protection
Fall Protection - Guardrails and Hole Covers | All floorholes were observed to be covered, secured and marked with the work "hole" or "cover"
Fall Protection - PFAS | 100% fall protection observed for activities with fall exposure. | PFAS equipment in use was inspected prior to use by user. | PFAS anchorages observed were adequate. | Employees utilizing the PFAS equipment had the required user level training.
Fire Protection and Prevention | Fire extinguishers are located at all stairwell landings and strategically throughout the prject site.
First Aid, Emergency Procedures | First Aid stations were located in marked cabinets throughout the project site.
Hazcom | SDS inventory is maintained by the GC in the triler.
Heat Injury Prevention
Hoisting/Rigging | All rigging in use was inspected prior to use.
Hotwork / Welding | Hot work permits are required and in use anywhere hot work must be perfromed. | Oxy/Acelylene bottles were observed sotred in a rated cart.
Housekeeping | General housekeeping is outstanding throughout the site.
Illumination
Ladders | Employees observed properly utilizing stepladders for overhead work.
LOTO
Manual Material Handling / Ergonomics
Mobile Equipment | Equipment was equipped with audible back up alarms and spotters utilized when backing
Mobile Scaffolding
Portable tool use | All power tools in use that were observed were in good condition and inspected daily.
PPE | All employees observed wearing required PPE including high visibility vest, hard hat, safety glasses and gloves when necessary.
Pre Task Planning / JHA | All Pre-Task plans reviewed in the filed were complete with sign off and specific to the task observed.
Public Protection / Security | Site security gates with guards at main site entrance controlling access, badging required.
Rebar Protection | Vertical protruding rebar was capper or covered with a trough.
Respiratory Protection | Respiratory protection utilized was properly worn and was adequate for the hazard.
Silica | Silica dust control measures were in place. | Silica Table 1 Controls were in place including an exposure controol plan.
Supported Scaffolding | Scaffold planks were observed to be free from splits or defects.
Suspended Scaffolding
Steel Erection | Steel erection activities were taking place in a barricaded access zone only accessble to ironworkers.
Traffic Controls / Flagging | Temporary traffic controls were properly set up according to the approved TCP.
Training
Walkways / Pathways
Other / Specify